Condition Assessment for Antifriction Bearing

## Bearing Information

Machine End: MND

Bearing Type: Antifriction Ball Bearing

Machine: Feed Pump - Area 1 Train 1

Assessment Date: 2025-10-13

## Parameter Assessment

| Parameter | Variance % | Score | Condition | Action | Risk Level |
| --- | --- | --- | --- | --- | --- |
| A. Overall envelope value | 122.00% | 1.5 | Stage 3 | Lubrication and bearing replacement to be planned in 2 weeks | High |
| F. FTF harmonic energy | 64.00% | 1.0 | Stage 2 | Lubrication to be done | Moderate |

## Assessment Summary

| Overall Score | 2.50 |
| --- | --- |
| Condition Stage | Stage 1 (Good) |
| Risk Level | Low |
| Parameters Evaluated | 2 |
| Recommendation | Lubrication to be done |

## Final Recommendation

Lubrication to be done